## sizing
|  | Workload (TPS) | Core per Server | Max Server Faults | HA Ratio
|  | 4000 | 48 | 1 | 24%
| Typical core Ratio | TPS by Core | # of Cores for workload TPS | HA cores | Prod cores | Dev % of Workload | Dev % of Cores in DR | Dev cores | Test % of Workload | Test % of Cores in DR | Test cores | PreProd % of Workload | PreProd cores | DR active cores % of Prod+PreProd | DR cores | DR CBU (spare) cores | Tot # of Active cores | x86 to z Active Core ratio | Tot # of Active cores no DR | x86 to z Core ratio no DR | Tot # of cores | x86 to z Core ratio
x86 | 10 | 20 | 200 | 48 | 248 | 50% | 50% | 124 | 50% | 50% | 124 | 100% | 248 | 100% | 620 |  | 1364 | 22.7333 | 744 | 12.4 | 1364 | 13.64
LinuxONE | 1 | 200 | 20 |  | 20 | 50% |  | 10 | 50% |  | 10 | 100% | 20 |  |  | 40 | 60 |  | 60 |  | 100
* most customers would have exact replica of Prod
Sizing Disclaimer:
Calculation of required cores for a real workload requires sophisticated analysis.
In order to make a simple and realistic sizing, for this exercise a simplified approach is used considering the Typical core ratio.
The typical core ratio take into account:
Architecture, GHz & utilization, VM & Hypervisor effect, System Overhead, Networking co-location effect, Sysplex, etc.
Although these data will change slightly depending the server model used, these data averages are proved by many real workloads and documented also on papers such as those reported in the references.
Reference: A. Micarelli, S. Proietti Conti, "Why Application Requirements Should Drive the Choice of your Infrastructure", 2021 IBM Corporation web published paper
Download at: | https://www.ibm.com/downloads/cas/2VVYYVNP
Legend:
Input field
Optional input
Suggested input (reccomended not change)
Calculated values
Calculated values highlighted (Very Important)
Calculated values highlighted (Important)
Constant

## x86 TCO
Small Size Enterprise | [15 empty] | Acquisition Cost |  |  |  |  | Maintenance/ Operating Cost |  |  |  |  | TOTALS
Typically x86 workload | [15 empty] | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5
Hardware
Server Model |  | Acquisition Cost | Maintenance/ Operating Cost | Starting Year of Maint | Discount % | # of Cores per Server | # of Sockets | # of Cores per socket | # of "boxes" per Rack |  | kW
Rack server w Xeon Gold 6252 24C 2.10GHz (2 Chips, 48 Cores) | 6 | 21463 | 4292 | 4 | 37% | 48 | 2 | 24 | 10 |  | 1.1
Rack server w Xeon Gold 6244 8C 3.60GHz (2 Chips, 16 Cores) | 0 | 8000 | 1600 | 4 | 30% | 16 | 2 | 8 | 30 |  | 0.5
Rack server w Xeon Gold 5115 10C 2.40GHz (2 Chips, 20 Cores) | 0 | 10000 | 2000 | 4 | 30% | 20 | 2 | 10 | 30 |  | 0.6
Rack server w Xeon Gold 6146 12C 3.20GHz (2 Chips, 24 Cores) | 0 | 12000 | 2400 | 4 | 30% | 24 | 2 | 12 | 15 |  | 1.2
Rack server w Xeon Gold 6146 12C 3.20GHz (4 Chips, 48 Cores) | 0 | 24000 | 4800 | 4 | 30% | 48 | 4 | 12 | 15 |  | 1.2
| 0 |  |  |  |  | 0
Rack server w Xeon Gold 6252 24C 2.10GHz (2 Chips, 48 Cores) | S | 21463 | 4292 | 4 | 37% | 48 | 2 | 24 | 10 |  | 1.1
Rack server w Xeon Gold 5220 18C 2.20GHz (2 Chips, 36 Cores) | 0 | 9240 | 1848 | 4 | 37% | 36 | 2 | 18 | 15 |  | 1.1
Rack server w Xeon Gold 6252 24C 2.10GHz (4 Chips, 96 Cores) | 0 | 33319 | 6663 | 4 | 37% | 96 | 4 | 24 | 10 |  | 1.6
| 0 |  |  |  |  | 0
| 0 |  |  |  |  | 0
| 0 |  |  |  |  | 0
Environment being investigated |  | # of Cores for bare workload | % of Cores vs bare workload | Allocated Cores | cores per Server | Allocated Servers | Tot cores available | Spare Cores | % of spare cores | Allocated Sockets |  |  | # of Server | # of Sockets | # of Cores | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
Prod |  | 200 | see sizing | 248 | 48 | 6 | 288 | 40 | 13.89% | 11 |  | Prod | 6 | 11 | 248 | 81130.14 |  |  |  |  | 0 | 0 | 0 | 16223.76 | 16223.76 | 113577.66 | Prod
Dev |  |  | 50% | 124 | 48 | 3 | 144 | 20 | 13.89% | 6 |  | Dev | 3 | 6 | 124 | 40565.07 |  |  |  |  | 0 | 0 | 0 | 8111.88 | 8111.88 | 56788.83 | Dev
Test |  |  | 50% | 124 | 48 | 3 | 144 | 20 | 13.89% | 6 |  | Test | 3 | 6 | 124 | 40565.07 |  |  |  |  | 0 | 0 | 0 | 8111.88 | 8111.88 | 56788.83 | Test
PreProd |  |  | 100% | 248 | 48 | 6 | 288 | 40 | 13.89% | 11 |  | PreProd | 6 | 11 | 248 | 81130.14 |  |  |  |  | 0 | 0 | 0 | 16223.76 | 16223.76 | 113577.66 | QA
DR |  |  | 100% | 620 | 48 | 12 | 576 | -44 | -7.639% | 26 |  | DR | 12 | 26 | 620 | 162260.28 |  |  |  |  | 0 | 0 | 0 | 32447.52 | 32447.52 | 227155.32 | DR
TOT |  |  |  | 1364 |  | 30 | 1440 | 76 | 5.278% | 60 |  |  | 30 | 60 | 1364 | 405650.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 81118.8 | 81118.8 | 567888.3 | TOT
[13 empty] | # of Server | # of Sockets | # of Cores
Software Stack
Production |  | Acquisition/ Capital Cost | Maintenance/ Operating Cost | Starting Year of yearly charges | Discount % | Unit of Measure | Measured by | conversion factor | server | socket | core |  | count | Unit of Measure | Units | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
OS |  |  | 2000 | 1 | 20% | socket | socket | 1 | 6 | 11 | 248 |  | 11 | socket | 11 | 0 |  |  |  |  | 17600 | 17600 | 17600 | 17600 | 17600 | 88000
VM |  | 5000 | 1000 | 2 | 20% | socket | socket | 1 | 6 | 11 | 248 |  | 11 | socket | 11 | 44000 |  |  |  |  | 0 | 8800 | 8800 | 8800 | 8800 | 79200
Web Sphere |  | 46.73 | 9.346 | 2 | 75% | PVU | core | 100 | 6 | 11 | 248 |  | 248 | PVU | 24800 | 289726 |  |  |  |  | 0 | 57945.2 | 57945.2 | 57945.2 | 57945.2 | 521506.8
Microsoft SQL |  | 11626 | 2325.2 | 1 | 75% | core | core | 0.5 | 6 | 11 | 248 |  | 248 | core | 124 | 360406 |  |  |  |  | 72081.2 | 72081.2 | 72081.2 | 72081.2 | 72081.2 | 720812
Data Replication Tools |  |  | 3000 | 1 | 75% | core | core | 0.5 | 6 | 11 | 248 |  | 248 | core | 124 | 0 |  |  |  |  | 93000 | 93000 | 93000 | 93000 | 93000 | 465000
Monitoring Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1 | 6 | 11 | 248 |  | 6 | server | 6 | 18000 |  |  |  |  | 0 | 3600 | 3600 | 3600 | 3600 | 32400
Security Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1 | 6 | 11 | 248 |  | 6 | server | 6 | 18000 |  |  |  |  | 0 | 3600 | 3600 | 3600 | 3600 | 32400
[15 empty] | PROD | 730132 | 0 | 0 | 0 | 0 | 182681.2 | 256626.4 | 256626.4 | 256626.4 | 256626.4 | 1939318.8
Dev |  | Acquisition/ Capital Cost | Maintenance/ Operating Cost | Starting Year of yearly charges | Discount % | Unit of Measure | Measured by | conversion factor | server | socket | core |  | count | Unit of Measure | Units | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
OS |  | 0 | 2000 | 1 | 20% | socket | socket | 1 | 3 | 6 | 124 |  | 6 | socket | 6 | 0 |  |  |  |  | 9600 | 9600 | 9600 | 9600 | 9600 | 48000
VM |  | 5000 | 1000 | 2 | 20% | socket | socket | 1 | 3 | 6 | 124 |  | 6 | socket | 6 | 24000 |  |  |  |  | 0 | 4800 | 4800 | 4800 | 4800 | 43200
Web Sphere |  | 46.73 | 9.346 | 2 | 75% | PVU | core | 100 | 3 | 6 | 124 |  | 124 | PVU | 12400 | 144863 |  |  |  |  | 0 | 28972.6 | 28972.6 | 28972.6 | 28972.6 | 260753.4
Microsoft SQL |  | 11626 | 2325.2 | 1 | 75% | core | core | 0.5 | 3 | 6 | 124 |  | 124 | core | 62 | 180203 |  |  |  |  | 36040.6 | 36040.6 | 36040.6 | 36040.6 | 36040.6 | 360406
Data Replication Tools |  | 0 | 3000 | 1 | 75% | core | core | 0.5 | 3 | 6 | 124 |  | 124 | core | 62 | 0 |  |  |  |  | 46500 | 46500 | 46500 | 46500 | 46500 | 232500
Monitoring Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1 | 3 | 6 | 124 |  | 3 | server | 3 | 9000 |  |  |  |  | 0 | 1800 | 1800 | 1800 | 1800 | 16200
Security Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1 | 3 | 6 | 124 |  | 3 | server | 3 | 9000 |  |  |  |  | 0 | 1800 | 1800 | 1800 | 1800 | 16200
[15 empty] | DEV | 367066 | 0 | 0 | 0 | 0 | 92140.6 | 129513.2 | 129513.2 | 129513.2 | 129513.2 | 977259.4
Test |  | Acquisition/ Capital Cost | Maintenance/ Operating Cost | Starting Year of yearly charges | Discount % | Unit of Measure | Measured by | conversion factor | server | socket | core |  | count | Unit of Measure | Units | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
OS |  | 0 | 2000 | 1 | 20% | socket | socket | 1 | 3 | 6 | 124 |  | 6 | socket | 6 | 0 |  |  |  |  | 9600 | 9600 | 9600 | 9600 | 9600 | 48000
VM |  | 5000 | 1000 | 2 | 20% | socket | socket | 1 | 3 | 6 | 124 |  | 6 | socket | 6 | 24000 |  |  |  |  | 0 | 4800 | 4800 | 4800 | 4800 | 43200
Web Sphere |  | 46.73 | 9.346 | 2 | 75% | PVU | core | 100 | 3 | 6 | 124 |  | 124 | PVU | 12400 | 144863 |  |  |  |  | 0 | 28972.6 | 28972.6 | 28972.6 | 28972.6 | 260753.4
Microsoft SQL |  | 11626 | 2325.2 | 1 | 75% | core | core | 0.5 | 3 | 6 | 124 |  | 124 | core | 62 | 180203 |  |  |  |  | 36040.6 | 36040.6 | 36040.6 | 36040.6 | 36040.6 | 360406
Data Replication Tools |  | 0 | 3000 | 1 | 75% | core | core | 0.5 | 3 | 6 | 124 |  | 124 | core | 62 | 0 |  |  |  |  | 46500 | 46500 | 46500 | 46500 | 46500 | 232500
Monitoring Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1 | 3 | 6 | 124 |  | 3 | server | 3 | 9000 |  |  |  |  | 0 | 1800 | 1800 | 1800 | 1800 | 16200
Security Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1 | 3 | 6 | 124 |  | 3 | server | 3 | 9000 |  |  |  |  | 0 | 1800 | 1800 | 1800 | 1800 | 16200
[15 empty] | Test | 367066 | 0 | 0 | 0 | 0 | 92140.6 | 129513.2 | 129513.2 | 129513.2 | 129513.2 | 977259.4
Pre Prod / QA |  | Acquisition/ Capital Cost | Maintenance/ Operating Cost | Starting Year of yearly charges | Discount % | Unit of Measure | Measured by | conversion factor | server | socket | core |  | count | Unit of Measure | Units | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
OS |  | 0 | 2000 | 1 | 20% | socket | socket | 1 | 6 | 11 | 248 |  | 11 | socket | 11 | 0 |  |  |  |  | 17600 | 17600 | 17600 | 17600 | 17600 | 88000
VM |  | 5000 | 1000 | 2 | 20% | socket | socket | 1 | 6 | 11 | 248 |  | 11 | socket | 11 | 44000 |  |  |  |  | 0 | 8800 | 8800 | 8800 | 8800 | 79200
Web Sphere |  | 46.73 | 9.346 | 2 | 75% | PVU | core | 100 | 6 | 11 | 248 |  | 248 | PVU | 24800 | 289726 |  |  |  |  | 0 | 57945.2 | 57945.2 | 57945.2 | 57945.2 | 521506.8
Microsoft SQL |  | 11626 | 2325.2 | 1 | 75% | core | core | 0.5 | 6 | 11 | 248 |  | 248 | core | 124 | 360406 |  |  |  |  | 72081.2 | 72081.2 | 72081.2 | 72081.2 | 72081.2 | 720812
Data Replication Tools |  | 0 | 3000 | 1 | 75% | core | core | 0.5 | 6 | 11 | 248 |  | 248 | core | 124 | 0 |  |  |  |  | 93000 | 93000 | 93000 | 93000 | 93000 | 465000
Monitoring Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1 | 6 | 11 | 248 |  | 6 | server | 6 | 18000 |  |  |  |  | 0 | 3600 | 3600 | 3600 | 3600 | 32400
Security Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1 | 6 | 11 | 248 |  | 6 | server | 6 | 18000 |  |  |  |  | 0 | 3600 | 3600 | 3600 | 3600 | 32400
[15 empty] | Pre Prod /QA | 730132 | 0 | 0 | 0 | 0 | 182681.2 | 256626.4 | 256626.4 | 256626.4 | 256626.4 | 1939318.8
DR |  | Acquisition/ Capital Cost | Maintenance/ Operating Cost | Starting Year of yearly charges | Discount % | Unit of Measure | Measured by | conversion factor | server | socket | core |  | count | Unit of Measure | Units | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
OS |  | 0 | 2000 | 1 | 20% | socket | socket | 1 | 12 | 26 | 620 |  | 26 | socket | 26 | 0 |  |  |  |  | 41600 | 41600 | 41600 | 41600 | 41600 | 208000
VM |  | 5000 | 1000 | 2 | 20% | socket | socket | 1 | 12 | 26 | 620 |  | 26 | socket | 26 | 104000 |  |  |  |  | 0 | 20800 | 20800 | 20800 | 20800 | 187200
Web Sphere |  | 46.73 | 9.346 | 2 | 75% | PVU | core | 100 | 12 | 26 | 620 |  | 620 | PVU | 62000 | 724315 |  |  |  |  | 0 | 144863 | 144863 | 144863 | 144863 | 1303767
Microsoft SQL |  | 11626 | 2325.2 | 1 | 75% | core | core | 0.5 | 12 | 26 | 620 |  | 620 | core | 310 | 901015 |  |  |  |  | 180203 | 180203 | 180203 | 180203 | 180203 | 1802030
Data Replication Tools |  | 0 | 3000 | 1 | 75% | core | core | 0.5 | 12 | 26 | 620 |  | 620 | core | 310 | 0 |  |  |  |  | 232500 | 232500 | 232500 | 232500 | 232500 | 1162500
Monitoring Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1 | 12 | 26 | 620 |  | 12 | server | 12 | 36000 |  |  |  |  | 0 | 7200 | 7200 | 7200 | 7200 | 64800
Security Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1 | 12 | 26 | 620 |  | 12 | server | 12 | 36000 |  |  |  |  | 0 | 7200 | 7200 | 7200 | 7200 | 64800
[15 empty] | DR | 1801330 | 0 | 0 | 0 | 0 | 454303 | 634366 | 634366 | 634366 | 634366 | 4793097
[13 empty] | Software Stack TOTALS |  |  | 3995726 | 0 | 0 | 0 | 0 | 1003946.6 | 1406645.2 | 1406645.2 | 1406645.2 | 1406645.2 | 10626253.4 | TOT
People
People | [12 empty] | # of Server | FTE Require |  | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
# of Servers covered by 1 FTE for IT Operations considering QoS |  |  | 30 | This is for patches, upgrade, backup, Crit Sit or Disaster recovery personnels, etc | [7 empty] | Prod | 6 | 0.2 |  | 1: 20000; 2: 20000; 3: 20000; 4: 20000; 5: 20000 | 100000 | Prod
Avg yearly Fully loaded cost of IT Staff |  |  | 100000 | [8 empty] | Dev | 3 | 0.1 |  | 1: 10000; 2: 10000; 3: 10000; 4: 10000; 5: 10000 | 50000 | Dev
[12 empty] | Test | 3 | 0.1 |  | 1: 10000; 2: 10000; 3: 10000; 4: 10000; 5: 10000 | 50000 | Test
[12 empty] | QA | 6 | 0.2 |  | 1: 20000; 2: 20000; 3: 20000; 4: 20000; 5: 20000 | 100000 | QA
[12 empty] | DR | 12 | 0.4 |  | 1: 40000; 2: 40000; 3: 40000; 4: 40000; 5: 40000 | 200000 | DR
[13 empty] | TOT FTE required | 1 |  | 0 | 0 | 0 | 0 | 0 | 100000 | 100000 | 100000 | 100000 | 100000 | 500000 | TOT
Network
Network | [13 empty] | # of Server |  | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
Avg cost of Networking Infrastructure per Server |  |  | 7000 | [9 empty] | Prod | 6 |  | 29400 |  |  |  |  | 0 | 2940 | 2940 | 2940 | 2940 | 41160 | Prod
Avg discount % |  |  | 30% | [9 empty] | Dev | 3 |  | 14700 |  |  |  |  | 0 | 1470 | 1470 | 1470 | 1470 | 20580 | Dev
Avg Maintenance/ Operating Cost (% of acq.) |  |  | 10% | [9 empty] | Test | 3 |  | 14700 |  |  |  |  | 0 | 1470 | 1470 | 1470 | 1470 | 20580 | Test
Avg Maintenance/ Operating Cost (Currency) |  |  | 700 | [9 empty] | QA | 6 |  | 29400 |  |  |  |  | 0 | 2940 | 2940 | 2940 | 2940 | 41160 | QA
Starting Year of Maint |  |  | 2 | [9 empty] | DR | 12 |  | 58800 |  |  |  |  | 0 | 5880 | 5880 | 5880 | 5880 | 82320 | DR
[13 empty] | TOT # of Servers | 30 |  | 147000 | 0 | 0 | 0 | 0 | 0 | 14700 | 14700 | 14700 | 14700 | 205800 | TOT
Facilities
Space | [12 empty] | # of Server | # of Rack Cab | Avg. Footprint | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
Footprint of Server Rack Cabinet |  | sq.m. | 2.6 | [8 empty] | Prod | 6 | 0.6 | 2 | 1: 5200; 2: 5200; 3: 5200; 4: 5200; 5: 5200 | 26000 | Prod
# of "boxes" per Rack |  |  | 10 | [8 empty] | Dev | 3 | 0.3 | 0.78 | 1: 2028; 2: 2028; 3: 2028; 4: 2028; 5: 2028 | 10140 | Dev
Fully loaded cost of space per sq meter |  | $ | 2600 | [8 empty] | Test | 3 | 0.3 | 0.78 | 1: 2028; 2: 2028; 3: 2028; 4: 2028; 5: 2028 | 10140 | Test
[12 empty] | QA | 6 | 0.6 | 1.56 | 1: 4056; 2: 4056; 3: 4056; 4: 4056; 5: 4056 | 20280 | QA
[12 empty] | DR | 12 | 1.2 | 4 | 1: 10400; 2: 10400; 3: 10400; 4: 10400; 5: 10400 | 52000 | DR
[13 empty] | 30 | 3 | 9.12 | 0 | 0 | 0 | 0 | 0 | 23712 | 23712 | 23712 | 23712 | 23712 | 118560 | TOT
[13 empty] | # of Server | # of Rack Cab | 8 | 1: 23712
Electricity | [12 empty] | # of Servers | kWh / year |  | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
Actual Electricity Cost at the sites |  | €/kWh | 0.48 | [8 empty] | Prod | 6 | 57816 |  | 23712 1: 27751.68; 23712 2: 27751.68; 23712 3: 27751.68; 23712 4: 27751.68; 23712 5: 27751.68 | 138758.4 | Prod
Electricity Additional Cost for cooling, UPS and other peripherals |  | % | 66% | [8 empty] | Dev | 3 | 28908 |  | 23712 1: 13875.84; 23712 2: 13875.84; 23712 3: 13875.84; 23712 4: 13875.84; 23712 5: 13875.84 | 69379.2 | Dev
Electricity Consumption of Selected Server |  | kWh | 1.1 | [8 empty] | Test | 3 | 28908 |  | 23712 1: 13875.84; 23712 2: 13875.84; 23712 3: 13875.84; 23712 4: 13875.84; 23712 5: 13875.84 | 69379.2 | Test
Yearly kWh/ server |  | kWh | 9636 | [8 empty] | QA | 6 | 57816 |  | 23712 1: 27751.68; 23712 2: 27751.68; 23712 3: 27751.68; 23712 4: 27751.68; 23712 5: 27751.68 | 138758.4 | QA
[12 empty] | DR | 12 | 115632 |  | 23712 1: 55503.36; 23712 2: 55503.36; 23712 3: 55503.36; 23712 4: 55503.36; 23712 5: 55503.36 | 277516.8 | DR
[13 empty] | 30 | 289080 |  | 0 | 0 | 0 | 0 | 0 | 138758.4 | 138758.4 | 138758.4 | 138758.4 | 138758.4 | 693792 | TOT
[13 empty] | # of Servers | kWh / year
[12 empty] | Prod |  |  |  | 0 | 0 | 0 | 0 | 0 | 32951.68 | 32951.68 | 32951.68 | 32951.68 | 32951.68 | 164758.4 | Prod
[12 empty] | Dev |  |  |  | 0 | 0 | 0 | 0 | 0 | 15903.84 | 15903.84 | 15903.84 | 15903.84 | 15903.84 | 79519.2 | Dev
[12 empty] | Test |  |  |  | 0 | 0 | 0 | 0 | 0 | 15903.84 | 15903.84 | 15903.84 | 15903.84 | 15903.84 | 79519.2 | Test
[12 empty] | QA |  |  |  | 0 | 0 | 0 | 0 | 0 | 31807.68 | 31807.68 | 31807.68 | 31807.68 | 31807.68 | 159038.4 | QA
[12 empty] | DR |  |  |  | 0 | 0 | 0 | 0 | 0 | 65903.36 | 65903.36 | 65903.36 | 65903.36 | 65903.36 | 329516.8 | DR
[13 empty] | Facilities TOTALS |  |  | 0 | 0 | 0 | 0 | 0 | 162470.4 | 162470.4 | 162470.4 | 162470.4 | 162470.4 | 812352 | TOT
[14 empty] | Total costs for this scenario |  | 4548376.7 | 0 | 0 | 0 | 0 | 1266417 | 1683815.6 | 1683815.6 | 1764934.4 | 1764934.4 | 12712293.7 | TOT
[14 empty] | Tot costs per year |  | 23712 1: 5814793.7; 23712 2: 1683815.6; 23712 3: 1683815.6; 23712 4: 1764934.4; 23712 5: 1764934.4 | 12712293.7
[14 empty] | Tot cumulative costs |  | 23712 1: 5814793.7; 23712 2: 7498609.3; 23712 3: 9182424.9; 23712 4: 10947359.3; 23712 5: 12712293.7

## LinuxONE TCO
Enterprise Grade Linux Environment | [14 empty] | Acquisition/Capital Cost |  |  |  |  | Maintenance/ Operating Cost |  |  |  |  | TOTALS
Typically LinuxONE | [14 empty] | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5
Hardware
Linux ONE | Acquisition Cost | Included cores | core cost | CBU Cost | Discount % | # of Cores per Server | Maintenance/ Operating Cost | Starting Year of Maint | kW |  |  | SW Incl | SW incl | SW incl | Acquisition/Capital Cost 1: SW incl
Simplicistic model to build a price example | 600000 | 6 | 50000 | 5000 | 30% | 190 | 10% | 4 | 15 |  |  | OS | VM | Admin | Acquisition/Capital Cost 1: Management
This is an estimate based on this web page: | https://www.ibm.com/it-infrastructure/resources/tools/linuxone-tco-calculator/
Simplicistic architecture considering always 2 LinuxONE servers, each one in a different site for HA & DR
| # of Cores (core) for bare workload | % of Cores vs bare workload | Allocated Cores | Site 1 core | Site 2 core | Site 1 CBU | Site 2 CBU |  | Allocation % |  |  | # of Server | # of Sockets | # of Cores | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
Prod | 20 | see sizing | 20 | 20 |  |  | 20 | Prod | 33.33% |  | Prod | 0.66667 | 20 | 20 | 840000 |  |  |  |  | 0 | 0 | 0 | 84000 | 84000 | 1008000 | Prod
Dev |  | 50% | 10 | 10 | 0 |  |  | Dev | 16.67% |  | Dev | 0.33333 | 10 | 10 | 420000 |  |  |  |  | 0 | 0 | 0 | 42000 | 42000 | 504000 | Dev
Test |  | 50% | 10 | 0 | 10 |  |  | Test | 16.67% |  | Test | 0.33333 | 10 | 10 | 420000 |  |  |  |  | 0 | 0 | 0 | 42000 | 42000 | 504000 | Test
PreProd |  | 100% | 20 |  | 20 | 20 |  | QA | 33.33% |  | QA | 0.66667 | 20 | 20 | 840000 |  |  |  |  | 0 | 0 | 0 | 84000 | 84000 | 1008000 | QA
DR | [5 empty] | 20 | 20 | DR |  |  | DR |  |  |  | 140000 |  |  |  |  | 0 | 0 | 0 | 14000 | 14000 | 168000 | DR
TOT |  |  | 60 | 30 | 30 | 20 | 20 |  | 100% |  |  | 2 | 60 | 60 | 2660000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 266000 | 266000 | 3192000 | TOT
|  |  | Price per Site | 1800000 | 1800000 | 100000 | 100000 |  |  |  |  | # of Server | # of Sockets | # of Cores
Software Stack
Production | Acquisition/ Capital Cost | Maintenance/ Subscription | Starting Year of Maint charges | Discount % | Unit of Measure | Measured by | conversion factor | server | socket | core |  | count | Unit of Measure | Units | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
OS |  | 6000 | 1 | 20% | core | core | 1 | 0.66667 | 20 | 20 |  | 20 | socket | 20 | 0 |  |  |  |  | 96000 | 96000 | 96000 | 96000 | 96000 | 480000
VM |  |  | 2 | 20% | core | core | 1 | 0.66667 | 20 | 20 |  | 20 | socket | 20 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Web Sphere | 46.73 | 9.346 | 2 | 50% | PVU | core | 120 | 0.66667 | 20 | 20 |  | 20 | PVU | 2400 | 56076 |  |  |  |  | 0 | 11215.2 | 11215.2 | 11215.2 | 11215.2 | 100936.8
Microsoft SQL | 11626 | 2325.2 | 1 | 50% | core | core | 1 | 0.66667 | 20 | 20 |  | 20 | core | 20 | 116260 |  |  |  |  | 23252 | 23252 | 23252 | 23252 | 23252 | 232520
Data Replication Tools |  | 3000 | 1 | 50% | core | core | 1 | 0.66667 | 20 | 20 |  | 20 | core | 20 | 0 |  |  |  |  | 30000 | 30000 | 30000 | 30000 | 30000 | 150000
Monitoring Tools | 5000 | 1000 | 2 | 40% | server | server | 1 | 0.66667 | 20 | 20 |  | 0.66667 | server | 0.66667 | 2000 |  |  |  |  | 0 | 400 | 400 | 400 | 400 | 3600
Security Tools | 5000 | 1000 | 2 | 40% | server | server | 1 | 0.66667 | 20 | 20 |  | 0.66667 | server | 0.66667 | 2000 |  |  |  |  | 0 | 400 | 400 | 400 | 400 | 3600
[14 empty] | PROD | 176336 | 0 | 0 | 0 | 0 | 149252 | 161267.2 | 161267.2 | 161267.2 | 161267.2 | 970656.8
Dev | Acquisition/ Capital Cost | Maintenance/ Subscription | Starting Year of Maint charges | Discount % | Unit of Measure | Measured by | conversion factor | server | socket | core |  | count | Unit of Measure | Units | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
OS | 0 | 6000 | 1 | 20% | core | core | 1 | 0.33333 | 10 | 10 |  | 10 | socket | 10 | 0 |  |  |  |  | 48000 | 48000 | 48000 | 48000 | 48000 | 240000
VM | 0 | 0 | 2 | 20% | core | core | 1 | 0.33333 | 10 | 10 |  | 10 | socket | 10 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Web Sphere | 46.73 | 9.346 | 2 | 50% | PVU | core | 120 | 0.33333 | 10 | 10 |  | 10 | PVU | 1200 | 28038 |  |  |  |  | 0 | 5607.6 | 5607.6 | 5607.6 | 5607.6 | 50468.4
Microsoft SQL | 11626 | 2325.2 | 1 | 50% | core | core | 1 | 0.33333 | 10 | 10 |  | 10 | core | 10 | 58130 |  |  |  |  | 11626 | 11626 | 11626 | 11626 | 11626 | 116260
Data Replication Tools | 0 | 3000 | 1 | 50% | core | core | 1 | 0.33333 | 10 | 10 |  | 10 | core | 10 | 0 |  |  |  |  | 15000 | 15000 | 15000 | 15000 | 15000 | 75000
Monitoring Tools | 5000 | 1000 | 2 | 40% | server | server | 1 | 0.33333 | 10 | 10 |  | 0.33333 | server | 0.33333 | 1000 |  |  |  |  | 0 | 200 | 200 | 200 | 200 | 1800
Security Tools | 5000 | 1000 | 2 | 40% | server | server | 1 | 0.33333 | 10 | 10 |  | 0.33333 | server | 0.33333 | 1000 |  |  |  |  | 0 | 200 | 200 | 200 | 200 | 1800
[14 empty] | DEV | 88168 | 0 | 0 | 0 | 0 | 74626 | 80633.6 | 80633.6 | 80633.6 | 80633.6 | 485328.4
Test | Acquisition/ Capital Cost | Maintenance/ Operating Cost | Starting Year of Maint charges | Discount % | Unit of Measure | Measured by | conversion factor | server | socket | core |  | count | Unit of Measure | Units | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
OS | 0 | 6000 | 1 | 20% | core | core | 1 | 0.33333 | 10 | 10 |  | 10 | socket | 10 | 0 |  |  |  |  | 48000 | 48000 | 48000 | 48000 | 48000 | 240000
VM | 0 | 0 | 2 | 20% | core | core | 1 | 0.33333 | 10 | 10 |  | 10 | socket | 10 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Web Sphere | 46.73 | 9.346 | 2 | 50% | PVU | core | 120 | 0.33333 | 10 | 10 |  | 10 | PVU | 1200 | 28038 |  |  |  |  | 0 | 5607.6 | 5607.6 | 5607.6 | 5607.6 | 50468.4
Microsoft SQL | 11626 | 2325.2 | 1 | 50% | core | core | 1 | 0.33333 | 10 | 10 |  | 10 | core | 10 | 58130 |  |  |  |  | 11626 | 11626 | 11626 | 11626 | 11626 | 116260
Data Replication Tools | 0 | 3000 | 1 | 50% | core | core | 1 | 0.33333 | 10 | 10 |  | 10 | core | 10 | 0 |  |  |  |  | 15000 | 15000 | 15000 | 15000 | 15000 | 75000
Monitoring Tools | 5000 | 1000 | 2 | 40% | server | server | 1 | 0.33333 | 10 | 10 |  | 0.33333 | server | 0.33333 | 1000 |  |  |  |  | 0 | 200 | 200 | 200 | 200 | 1800
Security Tools | 5000 | 1000 | 2 | 40% | server | server | 1 | 0.33333 | 10 | 10 |  | 0.33333 | server | 0.33333 | 1000 |  |  |  |  | 0 | 200 | 200 | 200 | 200 | 1800
[14 empty] | Test | 88168 | 0 | 0 | 0 | 0 | 74626 | 80633.6 | 80633.6 | 80633.6 | 80633.6 | 485328.4
Pre Prod / QA | Acquisition/ Capital Cost | Maintenance/ Operating Cost | Starting Year of Maint charges | Discount % | Unit of Measure | Measured by | conversion factor | server | socket | core |  | count | Unit of Measure | Units | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
OS | 0 | 6000 | 1 | 20% | core | core | 1 | 0.66667 | 20 | 20 |  | 20 | socket | 20 | 0 |  |  |  |  | 96000 | 96000 | 96000 | 96000 | 96000 | 480000
VM | 0 | 0 | 2 | 20% | core | core | 1 | 0.66667 | 20 | 20 |  | 20 | socket | 20 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Web Sphere | 46.73 | 9.346 | 2 | 50% | PVU | core | 120 | 0.66667 | 20 | 20 |  | 20 | PVU | 2400 | 56076 |  |  |  |  | 0 | 11215.2 | 11215.2 | 11215.2 | 11215.2 | 100936.8
Microsoft SQL | 11626 | 2325.2 | 1 | 50% | core | core | 1 | 0.66667 | 20 | 20 |  | 20 | core | 20 | 116260 |  |  |  |  | 23252 | 23252 | 23252 | 23252 | 23252 | 232520
Data Replication Tools | 0 | 3000 | 1 | 50% | core | core | 1 | 0.66667 | 20 | 20 |  | 20 | core | 20 | 0 |  |  |  |  | 30000 | 30000 | 30000 | 30000 | 30000 | 150000
Monitoring Tools | 5000 | 1000 | 2 | 40% | server | server | 1 | 0.66667 | 20 | 20 |  | 0.66667 | server | 0.66667 | 2000 |  |  |  |  | 0 | 400 | 400 | 400 | 400 | 3600
Security Tools | 5000 | 1000 | 2 | 40% | server | server | 1 | 0.66667 | 20 | 20 |  | 0.66667 | server | 0.66667 | 2000 |  |  |  |  | 0 | 400 | 400 | 400 | 400 | 3600
[14 empty] | Pre Prod /QA | 176336 | 0 | 0 | 0 | 0 | 149252 | 161267.2 | 161267.2 | 161267.2 | 161267.2 | 970656.8
DR | Acquisition/ Capital Cost | Maintenance/ Operating Cost | Starting Year of Maint charges | Discount % | Unit of Measure | Measured by | conversion factor | server | socket | core |  | count | Unit of Measure | Units | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
OS | 0 | 6000 | 1 | 20% | core | core | 1 | 0 | 0 | 0 |  | 0 | socket | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
VM | 0 | 0 | 2 | 20% | core | core | 1 | 0 | 0 | 0 |  | 0 | socket | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Web Sphere | 46.73 | 9.346 | 2 | 50% | PVU | core | 120 | 0 | 0 | 0 |  | 0 | PVU | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Microsoft SQL | 11626 | 2325.2 | 1 | 50% | core | core | 1 | 0 | 0 | 0 |  | 0 | core | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Data Replication Tools | 0 | 3000 | 1 | 50% | core | core | 1 | 0 | 0 | 0 |  | 0 | core | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Monitoring Tools | 5000 | 1000 | 2 | 40% | server | server | 1 | 0 | 0 | 0 |  | 0 | server | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Security Tools | 5000 | 1000 | 2 | 40% | server | server | 1 | 0 | 0 | 0 |  | 0 | server | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
[14 empty] | DR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | Software Stack TOTALS |  |  | 529008 | 0 | 0 | 0 | 0 | 447756 | 483801.6 | 483801.6 | 483801.6 | 483801.6 | 2911970.4 | TOT
People
People | [11 empty] | # of Server | FTE Require |  | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
# of Servers covered by 1 FTE for IT Operations considering QoS |  | 10 | This is for patches, upgrade, backup, Crit Sit or Disaster recovery personnels, etc | [7 empty] | Prod | 0.66667 | 0.066667 |  | 1: 6666.6667; 2: 6666.6667; 3: 6666.6667; 4: 6666.6667; 5: 6666.6667 | 33333.3333 | Prod
Avg yearly Fully loaded cost of IT Staff |  | 100000 | [8 empty] | Dev | 0.33333 | 0.033333 |  | 1: 3333.3333; 2: 3333.3333; 3: 3333.3333; 4: 3333.3333; 5: 3333.3333 | 16666.6667 | Dev
[11 empty] | Test | 0.33333 | 0.033333 |  | 1: 3333.3333; 2: 3333.3333; 3: 3333.3333; 4: 3333.3333; 5: 3333.3333 | 16666.6667 | Test
[11 empty] | QA | 0.66667 | 0.066667 |  | 1: 6666.6667; 2: 6666.6667; 3: 6666.6667; 4: 6666.6667; 5: 6666.6667 | 33333.3333 | QA
[11 empty] | DR | 0 | 0 |  | 1: 0; 2: 0; 3: 0; 4: 0; 5: 0 | 0 | DR
[12 empty] | TOT FTE required | 0.2 |  | 0 | 0 | 0 | 0 | 0 | 20000 | 20000 | 20000 | 20000 | 20000 | 100000 | TOT
Network
Network | [12 empty] | # of Server |  | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
Avg cost of Networking Infrastructure per Server |  | 14000 | [9 empty] | Prod | 0.66667 |  | 6533.3333 |  |  |  |  | 0 | 653.3333 | 653.3333 | 653.3333 | 653.3333 | 9146.6667 | Prod
Avg discount % |  | 30% | [9 empty] | Dev | 0.33333 |  | 3266.6667 |  |  |  |  | 0 | 326.6667 | 326.6667 | 326.6667 | 326.6667 | 4573.3333 | Dev
Avg Maintenance/ Operating Cost (% of acq.) |  | 10% | [9 empty] | Test | 0.33333 |  | 3266.6667 |  |  |  |  | 0 | 326.6667 | 326.6667 | 326.6667 | 326.6667 | 4573.3333 | Test
Avg Maintenance/ Operating Cost (Currency) |  | 1400 | [9 empty] | QA | 0.66667 |  | 6533.3333 |  |  |  |  | 0 | 653.3333 | 653.3333 | 653.3333 | 653.3333 | 9146.6667 | QA
Starting Year of Maint |  | 2 | [9 empty] | DR | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | DR
[12 empty] | TOT # of Servers | 2 |  | 19600 | 0 | 0 | 0 | 0 | 0 | 1960 | 1960 | 1960 | 1960 | 27440 | TOT
Facilities
Space | [11 empty] | # of Server | # of Rack Cab | Avg. Footprint | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
Footprint of Server Rack Cabinet | sq.m. | 2.6 | [8 empty] | Prod | 0.66667 | 0.66667 | 1.7333 | 1: 4853.3333; 2: 4853.3333; 3: 4853.3333; 4: 4853.3333; 5: 4853.3333 | 24266.6667 | Prod
[11 empty] | Dev | 0.33333 | 0.33333 | 0.86667 | 1: 2426.6667; 2: 2426.6667; 3: 2426.6667; 4: 2426.6667; 5: 2426.6667 | 12133.3333 | Dev
Fully loaded cost of space per sq meter | $ | 2800 | [8 empty] | Test | 0.33333 | 0.33333 | 0.86667 | 1: 2426.6667; 2: 2426.6667; 3: 2426.6667; 4: 2426.6667; 5: 2426.6667 | 12133.3333 | Test
[11 empty] | QA | 0.66667 | 0.66667 | 1.7333 | 1: 4853.3333; 2: 4853.3333; 3: 4853.3333; 4: 4853.3333; 5: 4853.3333 | 24266.6667 | QA
[11 empty] | DR | 0 | 0 | 0 | 1: 0; 2: 0; 3: 0; 4: 0; 5: 0 | 0 | DR
[12 empty] | 2 | 2 | 5.2 | 0 | 0 | 0 | 0 | 0 | 14560 | 14560 | 14560 | 14560 | 14560 | 72800 | TOT
[12 empty] | # of Server | # of Rack Cab | Avg. Footprint
Electricity | [11 empty] | # of Servers | kWh / year |  | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
Actual Electricity Cost at the sites | €/kWh | 0.48 |  |  |  |  | Electricity Consumption by fully loaded z Server | kWh | 15 |  | Prod | 0.66667 | 13831.5789 |  | 1: 6639.1579; 2: 6639.1579; 3: 6639.1579; 4: 6639.1579; 5: 6639.1579 | 33195.7895 | Prod
Electricity Additional Cost for cooling, UPS and other peripherals | % | 66% |  |  |  |  | Electricity by core | kWh | 0.078947 |  | Dev | 0.33333 | 6915.7895 |  | 1: 3319.5789; 2: 3319.5789; 3: 3319.5789; 4: 3319.5789; 5: 3319.5789 | 16597.8947 | Dev
Electricity Consumption of Selected Server | kWh | 2.3684 | [8 empty] | Test | 0.33333 | 6915.7895 |  | 1: 3319.5789; 2: 3319.5789; 3: 3319.5789; 4: 3319.5789; 5: 3319.5789 | 16597.8947 | Test
Yearly kWh/ server | kWh | 20747.3684 |  |  |  |  | Number of cores |  | 30 |  | QA | 0.66667 | 13831.5789 |  | 1: 6639.1579; 2: 6639.1579; 3: 6639.1579; 4: 6639.1579; 5: 6639.1579 | 33195.7895 | QA
[11 empty] | DR | 0 | 0 |  | 1: 0; 2: 0; 3: 0; 4: 0; 5: 0 | 0 | DR
[12 empty] | 2 | 41494.7368 |  | 0 | 0 | 0 | 0 | 0 | 19917.4737 | 19917.4737 | 19917.4737 | 19917.4737 | 19917.4737 | 99587.3684 | TOT
[12 empty] | # of Servers | kWh / year
[11 empty] | Prod |  |  |  | 0 | 0 | 0 | 0 | 0 | 11492.4912 | 11492.4912 | 11492.4912 | 11492.4912 | 11492.4912 | 57462.4561 | Prod
[11 empty] | Dev |  |  |  | 0 | 0 | 0 | 0 | 0 | 5746.2456 | 5746.2456 | 5746.2456 | 5746.2456 | 5746.2456 | 28731.2281 | Dev
[11 empty] | Test |  |  |  | 0 | 0 | 0 | 0 | 0 | 5746.2456 | 5746.2456 | 5746.2456 | 5746.2456 | 5746.2456 | 28731.2281 | Test
[11 empty] | QA |  |  |  | 0 | 0 | 0 | 0 | 0 | 11492.4912 | 11492.4912 | 11492.4912 | 11492.4912 | 11492.4912 | 57462.4561 | QA
[11 empty] | DR |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | DR
[12 empty] | Facilities TOTALS |  |  | 0 | 0 | 0 | 0 | 0 | 34477.4737 | 34477.4737 | 34477.4737 | 34477.4737 | 34477.4737 | 172387.3684 | TOT
[13 empty] | Total costs for this scenario |  | 3208608 | 0 | 0 | 0 | 0 | 502233.4737 | 540239.0737 | 540239.0737 | 806239.0737 | 806239.0737 | 6403797.7684 | TOT
[13 empty] | Tot costs per year |  | 1: 3710841.4737; 2: 540239.0737; 3: 540239.0737; 4: 806239.0737; 5: 806239.0737 | 6403797.7684
[13 empty] | Tot cumulative costs |  | 1: 3710841.4737; 2: 4251080.5474; 3: 4791319.6211; 4: 5597558.6947; 5: 6403797.7684

## TCO comparison
| Workload [TPS]= | 4000
| x86 | Environments | [6 empty] | LinuxONE | Environments
Rack server w Xeon Gold 6252 24C 2.10GHz (2 Chips, 48 Cores) |  | Prod | Dev | Test | PreProd/QA | DR | Tot by Comp |  |  | Prod | Dev | Test | PreProd/QA | DR | Tot by Comp
Components | Hardware | 113577.66 | 56788.83 | 56788.83 | 113577.66 | 227155.32 | 567888.3 | Components | Hardware | 1008000 | 504000 | 504000 | 1008000 | 168000 | 3192000
| Software | 1939318.8 | 977259.4 | 977259.4 | 1939318.8 | 4793097 | 10626253.4 |  | Software | 970656.8 | 485328.4 | 485328.4 | 970656.8 | 0 | 2911970.4
| People | 500000 |  |  |  |  | 500000 |  | People | 100000 |  |  |  |  | 100000
| Network | 41160 | 20580 | 20580 | 41160 | 82320 | 205800 |  | Network | 9146.6667 | 4573.3333 | 4573.3333 | 9146.6667 | 0 | 27440
| Space | 26000 | 10140 | 10140 | 20280 | 52000 | 118560 |  | Space | 24266.6667 | 12133.3333 | 12133.3333 | 24266.6667 | 0 | 72800
| Electricity | 138758.4 | 69379.2 | 69379.2 | 138758.4 | 277516.8 | 693792 |  | Electricity | 33195.7895 | 16597.8947 | 16597.8947 | 33195.7895 | 0 | 99587.3684
| Total by Env | 2758814.86 | 1134147.43 | 1134147.43 | 2253094.86 | 5432089.12 | 12712293.7 |  | Total by Env | 2145265.9228 | 1022632.9614 | 1022632.9614 | 2045265.9228 | 168000 | 6403797.7684
[14 empty] | Savings = | 49.63%
| Hardware | Software | People | Network | Facilities | DR | TOT
x86 | 340732.98 | 5833156.4 | 500000 | 123480 | 482835.2 | 5432089.12 | 12712293.7
LinuxONE | 3024000 | 2911970.4 | 100000 | 27440 | 172387.3684 | 168000 | 6403797.7684
| Cumulative Costs | Year 1 | Year 2 | Year 3 | Year 4 | Year 5
| x86 | 5814793.7 | 7498609.3 | 9182424.9 | 10947359.3 | 12712293.7
| LinuxONE | 3710841.4737 | 4251080.5474 | 4791319.6211 | 5597558.6947 | 6403797.7684
| TCA (1st year) | Hardware | Software | TOT
| x86 | 405650.7 | 730132 | 1135782.7
| LinuxONE | 2660000 | 176336 | 2836336 | 249.7%

## Analysis
Workload | x86 | LinuxONE | Workload | x86 | LinuxONE | Workload 4000 TPS | Max Server Faults | x86 | HA ratio
Avg | 3854743 | 2237162 | 80 TPS | 873347 | 1437571 |  | 0 | 10405714.5933 | 0%
Peak | 7311576 | 3564819 | 100 TPS | 964275 | 1437571 |  | 1 | 12712293.7 | 24%
Max Peak | 14054916 | 6403798 | 120 TPS | 1040003 | 1473571 |  | 2 | 15165398.16 | 48%
|  |  | 140 TPS | 1115731 | 1473571 |  | 3 | 17484977.2667 | 72%
|  |  | 160 TPS | 1191459 | 1437571 |  | 4 | 19938081.7267 | 96%
|  |  | 180 TPS | 1267187 | 1437571 |  | 5 | 20256193.1267 | 100%
|  |  | 200 TPS | 1358115 | 1437571
|  |  | 220 TPS | 1433842 | 1545636
|  |  | 300 TPS | 1782354 | 1545636
|  |  | 500 TPS | 2952743 | 1753366
|  |  | 800 TPS | 4164661 | 1861432
|  |  | 1000 TPS | 5405847 | 2237162
|  |  | 1500 TPS | 6423572 | 2997023
|  |  | 3000 TPS | 10329987 | 5076141
|  |  | 5000 TPS | 15256326 | 7915120

## Warmup tasks
x86 servers
a. Rack server
b. At least 2 Intel Xeon Gold Processor
c. At least 12 cores per processor
d. At least 128 GB of RAM
Server Model |  | Acquisition Cost | Maintenance/ Operating Cost | Starting Year of Maint | Discount % | # of Cores per Server | # of Sockets | # of Cores per socket | # of "boxes" per Rack | kW
Rack server w Xeon Gold 6252 24C 2.10GHz (2 Chips, 48 Cores) |  | 21463 | 4292 | 4 | 37% | 48 | 2 | 24 | 10 | 1.1
Rack server w Xeon Gold 5220 18C 2.20GHz (2 Chips, 36 Cores) |  | 9240 | 1848 | 4 | 37% | 36 | 2 | 18 | 15 | 1.1
Rack server w Xeon Gold 6252 24C 2.10GHz (4 Chips, 96 Cores) |  | 33319 | 6663 | 4 | 37% | 96 | 4 | 24 | 10 | 1.6
Application server
a. Name
b. Acquisition Cost
c. Maintenance Cost and when it is applied
d. Discount if avaiable
e. The unit of measure used to calculate the cost of this software (by core, Processor, Server, PVU, etc) and if there are conversion factors or price depending by range (such as up to 3 servers or up to 2 cores)
Commercial Java Application server
Commercial Java Application server | Vendor | Acquisition/ Capital Cost | Maintenance/ Operating Cost | Starting Year of Maint charges | Discount % | Unit of Measure | Measured by | Conversion factor
Web Logic Server | Oracle | 21142 | 4651 | 1 |  | core | core | 0.5
Web Sphere | IBM | 46.73 | 9.346 | 2 |  | PVU | core | 70/100
Open source Java Application server
Open source Java Application server | Vendor | Acquisition/ Capital Cost | Maintenance/ Operating Cost | Starting Year of Maint charges | Discount % | Unit of Measure | Measured by | Conversion factor
JBoss Enterprise Application | Red Hat |  | 634 | 1 |  | core | core | 1
TomEE | Apache |  | contact us
Database
a. Name
b. Acquisition Cost
c. Maintenance Cost and when it is applied
d. Discount if avaiable
e. The unit of measure used to calculate the cost of this software (by core, Processor, Server, PVU, etc) and if there are conversion factors or price depending by range (such as up to 3 servers or up to 2 cores)
f. The prices of the Data replication tools
Commercial Database
Commercial Database | Vendor | Acquisition/ Capital Cost | Maintenance/ Operating Cost | Starting Year of Maint charges | Discount % | Unit of Measure | Measured by | Conversion factor | Data replication tool
Microsoft SQL | Microsoft | 11626 | 2325 | 1 |  | core | core | 0.5
Oracle SQL | Oracle | 40170 | 8837 | 1 |  | core | core | 0.5 | 2959 per stream
Open source Database
Open source Database | Vendor | Acquisition/ Capital Cost | Maintenance/ Operating Cost | Starting Year of Maint charges | Discount % | Unit of Measure | Measured by | Conversion factor | Data replication tool
Mongo DB | MongoDB inc |  | 8457 | 1 |  | server | server | 1
My SQL | MySQL AB |  | 4228 | 1 |  | server | server | 1
Documentation
Resource | Link
Rack server w Xeon Gold 6252 24C 2.10GHz (2 Chips, 48 Cores) | https://www.dell.com/en-us/work/shop/dell-poweredge-servers/poweredge-r940-rack-server/spd/poweredge-r940/pe_r940_12229_vi_vp?configurationid=72606150-b7e6-4e12-91b4-228b29844617
Rack server w Xeon Gold 5220 18C 2.20GHz (2 Chips, 36 Cores) | https://www.dell.com/en-us/work/shop/cty/pdp/spd/poweredge-r740xd2/pe_r740xd2_13235_vi_vp?configurationid=31686ff3-70bc-49bb-8026-98d4670d4fba
Rack server w Xeon Gold 6252 24C 2.10GHz (4 Chips, 96 Cores) | https://www.dell.com/en-us/work/shop/dell-poweredge-servers/poweredge-r940-rack-server/spd/poweredge-r940/pe_r940_12229_vi_vp?configurationid=8981ee67-6fa5-4be1-9b07-02e18870c67f
Web Logic Server | https://www.oracle.com/us/corporate/pricing/technology-price-list-070617.pdf
Web Logic Server | https://www.oracle.com/us/corporate/contracts/processor-core-factor-table-070634.pdf
Web Sphere | https://reviews.financesonline.com/p/ibm-webspehre/
JBoss Enterprise Application | https://www.redhat.com/en/store/red-hat-jboss-enterprise-application-platform
TomEE | https://www.tomitribe.com/services/tomee/
Microsoft SQL | https://www.microsoft.com/it-it/sql-server/sql-server-2019-pricing
SQL Server Management Studio | https://docs.microsoft.com/it-it/sql/ssms/download-sql-server-management-studio-ssms?view=sql-server-ver15
Oracle SQL | https://www.oracle.com/us/corporate/pricing/technology-price-list-070617.pdf
Mongo DB | https://www.compose.com/articles/mongodb-cost-breakdown/
SymmetricDS | https://www.symmetricds.org/
My SQL | https://www.bigdata4innovation.it/big-data/software-big-data-big-data/database-aziendali-open-source-le-caratteristiche-di-mysql/